ERRATA   in  HVACSIM+ Program Documents

Errata are for the originally printed documents.

(a) NBSIR 84-2996 HVACSIM+ Building Systems and Equipment

Simulation Program - Reference Manual

Page 6    "and mode 3 is required for satisfactory accuracy" should be "and mode 2 is

required for satisfactory accuracy".

Page 41   "[0.001/(kg m)]" should be "[1000 / (kg m)]".

Page 44   "[0.001/(kg-m)]" should be "[1000 / (kg-m)]".

Page 53   Add  "3     C  -   valve stem relative position" to the output description.

Page 71   Add  "6     C  -   valve stem relative position" to the output description.

Page 99   "[ kJ/(kg K]" should be "[W/m K]" in the parameter description.

Page 100  Add " 1      multiplier"   in the parameter description.

(b)  NBSIR 85-3243 HVACSIM+ Building Systems and Equipment

Simulation Program - Users Guide

Page 67   Delete two lines from the bottom.

Page 101  "3   1   9   28   1   5  2   4" should be "3   1   9   3   1   5  2   4".

Page 186  Add a line "1  multiplier   (-)" for a parameter.

(c)  NBSIR 86-3331 HVACSIM+ Building Systems and Equipment

Simulation Program - Building Loads Calculation

Page 23   "ti "   should be "ti≤t≤ti+1".

Page 24   "cantiler" should be "cantilever".

Page 34   "where  fi,j= "   should be "where f1,j= ".

Page 48   The equation (6.4) should be

Wsat  =  0.62198p−pswpsw                (-)

Page 61   The equation (7.18) should have bars to indicate absolute values.

m=0∞Xm=m=0∞Ym=m=0∞Zm=U

Page 63   The equation (7.26) has two equal signs.  The last one should be a plus sign.

q0(t)=m=0NtYmTi,t−m−m=0NtXmT0,t−m+j=1NfRjq0,t−j

(d)  NISTIR 7514 HVACSIM+ User’s Guide Update

Page 15   “254 megabytes of memory” should be read as “256 megabytes of memory”.